Text for tender for LCP fan module, 3311.010

for TopTherm LCP CW 3311.130/230/260/530/560

LCP fan module:

The fan module is suitable for TopTherm LCP rack and TopTherm LCP Inline.

Additional installation of fan modules in an LCP increases the air throughput and thus the cooling output of the respective variant.

If the cooling output is already sufficient the additional fan modules may be used for redundancy.

Moreover, the retrofitting of fans in excess of the required volumetric air flow allows the reduction of electrical power consumption because the fans will work at less speed.

LCP fan module, supply includes:

- One fan module with EC technology and necessary assembly parts

Note:

Fan module 3311.011 could be generally used for LCP 3311.540

Fan module 3311.011 is usable for LCP 3311.130/230/260/530/560 with serial number higher 300.000.

Before ordering the fan module, please check serial number of LCP.