Proposals for a system CMCIII sample "small"
The systems can be ordered via the Rittal central warehouse in Germany:

1 Part	7030010	Processing Unit Compact III

1 Part	7030060	Power Supply III

1 Part	7030070	Assembly add-on unit 1HE

1 Part	7030071	Rack frame mounting unit

1 Part	7030080	Programming cable USB

1 Part	7030090	CAN bus connection cable RJ45 (0,5m)

1 Part	7030110	Temperature sensor III

1 Part	7200.215	CMC-TC IEC 320 extension, C13

Proposals for a system CMCIII sample "middle"
The systems can be ordered via the Rittal central warehouse in Germany:

1 Part	7030000	Processing Unit III

1 Part	7030040	I/O Unit III

1 Part	7030050	Power Unit III

1 Part	7030060	Power Supply III

1 Part	7030070	Assembly add-on unit 1HE

1 Part	7030071	Rack frame mounting unit

1 Part	7030080	Programming cable USB

3 Part	7030090	CAN bus connection cable RJ45 (0,5m)

3 Part	7030093	CAN bus connection cable RJ45 (2m)

1 Part	7030110	Temperature sensor III

1 Part	7030111	Temperature/humidity sensor III

1 Part	7030120	Infrared access sensor III

1 Part	7030130	Vandalism sensor III

4 Part	7200.215	CMC-TC IEC 320 extension, C13

Proposals for a system CMCIII sample "big"
The systems can be ordered via the Rittal central warehouse in Germany:

1 Part	7030000	Processing Unit III

1 Part	7030030	CAN bus unit III

1 Part	7030040	I/O Unit III

1 Part	7030050	Power Unit III

1 Part	7030060	Power Supply III

1 Part	7030070	Assembly add-on unit 1HE

2 Part	7030071	Rack frame mounting unit

1 Part	7030080	Programming cable USB

5 Part	7030090	CAN bus connection cable RJ45 (0,5m)

10 Part	7030093	CAN bus connection cable RJ45 (2m)

2 Part	7030100	CAN bus unit sensors III

1 Part	7030110	Temperature sensor III

1 Part	7030111	Temperature/humidity sensor III

1 Part	7030120	Infrared access sensor III

1 Part	7030130	Vandalism sensor III

1 Part	7030140	Analog airflow sensor III

1 Part	7030150	Analog differential pressure sensor III

1 Part	7030190	Universal sensor III

1 Part	7030200	CAN bus unit access III

1 Part	7030220	Coded lock III

1 Part 	3124.200	Interface card

1 Part	7320.820	CMC-TC GSM unit

1 Part	7320.440	CMC-TC 1 U mounting unit

1 Part	7320.441   CMC-TC Single cover

4 Part	7200.215	CMC-TC IEC 320 extension, C13

1 Part	7320.560	CMC-TC Smoke Alarm

1 Part	7320.630 	CMC-TC Leakage sensor

1 Part	7320.721	CMC-TC Comfort handle TS 8 with master key function

2 Part	7200.001	Rittal PCU, 8-way