## Tabelle1
Artikelnummer | Omschrijving | Alternatief 1 | Alternatief 2
1078131101 | RSD/Ms-EX PG13,5 - PG11/-20°- 95°C O-Ring Perbunan
1078483601 | RSD/Ms-EX PG48 - PG36/-20°- 95°C O-Ring Perbunan
1089091919 | Dichteinsatz HSK-ME PG9 mit 3 Bohrungen 1,4 mm aus Elastomer
1089110419 | Dichteinsatz HSK-ME PG11 4 Bohr. 2,8mm Elastomer
1089130619 | Dichteinsatz HSK-ME PG13,5 2 Bohr. 3,8mm Elastomer
1094502550 | Reduktion RS-INOX AG M50x1,5 - IG M25x1,5 W.-Nr. 1.4305
1105320051 | KV Z M32x1,5 DR Nr. 6x25mm Perbunan/ Ms vern.
1106070080 | Wadi-A-FKM PG7 f.Kabel 5-7mm Ms vern./ O-Ring
1106090080 | Wadi-A-FKM PG9 f.Kabel 6-8mm Ms vern./ O-Ring
1106400001 | HSK-XL G4" f.Kabel 68-75mm Ms vern./ O-Ring
1155070001 | Verschlussschr.-NE-Ms PG7/ Ms vern.
1155360001 | Verschlussschr.-NE-Ms PG36/ Ms vern.
1155420001 | Verschlussschr.-NE-Ms PG42/ Ms vern.
1161060050 | Mutter M6 6-kt. Ms vern.
1161100070 | Gegenmutter NPT 1" aus Ms vernickelt
1161120070 | Mutter NPT1/2" Ms vern.
1161120077 | Gegenmutter 1/2" NPT
1161120078 | Mutter NPT 1/2"aus Edelstahl 1.4305
1161200070 | Gegenmutter NPT 2"aus Ms vernickelt
1161300070 | Gegenmutter NPT 3"aus Ms vernickelt
1161340070 | Mutter NPT3/4" Ms vern.
1161520070 | Gegenmutter NPT 2 1/2"aus Ms vernickelt
1161540070 | Gegenmutter NPT 1 1/4"aus Ms vernickelt
1161640070 | Gegenmutter NPT 1 1/2"aus MS vernickelt
1192160001 | V-INOX-Ex (1.4305) PG16 O-Ring NBR/-20°C-+95°C | 1197160001
1209090061 | HSK-K grau PG9 lang f.Kabel 2-6mm PA | 1209090015
1209111115 | HSK-K schwarz PG11 f.Kabel 3-7mm PA mit O-Ring
1209120250 | HSK-K blau M12x1,5 f.Kabel 3-6,5mm PA | 1209120050 | 1209120150
1209121050 | HSK-K grau M12x1,5 f.Kabel 3-6,5mm PA/mit O-Ring
1209130061 | HSK-K grau PG13,5 lang f.Kabel 5-9mm PA | 1209130161
1209160230 | HSK-K blau M16X1,5 lang f.Kabel 4-8mm PA | 1209160030 | 1209160130
1209161051 | HSK-K grau M16x1,5 f.Kabel 2-6mm PA/ O-Ring
1209162250 | HSK-K blau M16x1,5 f.Kabel 4-8mm Staubschutz
1209200230 | HSK-K blau M20x1.5 lang f.Kabel 6-12mm PA | 1209200250 | 1209200030
1209210060 | HSK-K grau PG21 lang f.Kabel 13-18mm PA | 1209210160
1209290060 | HSK-K grau PG29 lang f.Kabel 18-25mm PA | 1209290160
1209360060 | HSK-K grau PG36 lang f.Kabel 22-32mm PA | 1209360160
1209404050 | HSK-K grau M40x1,5 f.Kabel 22-32mm Blindscheibe
1209420160 | HSK-K schwarz PG42 lang f.Kabel 32-38mm PA
1209420161 | HSK-K schwarz PG42 lang f.Kabel 25-31mm PA
1209480160 | HSK-K schwarz PG48 lang f.Kabel 37-44mm PA | 1209480115
1209480161 | HSK-K schwarz PG48 lang f.Kabel 29-35mm PA
1209504050 | HSK-K grau M50x1,5 f.Kabel 32-38mm Blindscheibe BL
1209540071 | HSK-K grau NPT1 1/4" f.Kabel 13-20mm PA | 1209540171
1209630031 | HSK-K grau M63x1,5 lang f.Kabel 29-35mm PA | 1209630131
1209631130 | HSK-K schwarz M63x1,5 lang
1215090114 | HSK-K-Mz-Ex schwarz PG9 f.Kabel 4-8mm PA/ Aluminium
1215110114 | HSK-K-Mz-Ex schwarz PG11 f.Kabel 6-10mm PA/ Aluminium | 1215160150 | 1692110001
1215130114 | HSK-K-Mz-Ex schwarz PG13,5 f.Kabel 7-12mm PA/ Aluminium
1215160114 | HSK-K-Mz-Ex schwarz PG16 f.Kabel 10-14mm PA/ Aluminium | 1215200150 | 1692160001
1215210114 | HSK-K-Mz-Ex schwarz PG21 f.Kabel 13-18mm PA/ Aluminium | 1215250150
1215290114 | HSK-K-Mz-Ex schwarz PG29 f.Kabel 18-25mm PA/ Aluminium | 1215320150 | 1692290001
1215360114 | HSK-K-Mz-Ex schwarz Pg36 für Kabel 22-32mm PA/Aluminium | 1215400150
1215420114 | HSK-K-Mz-Ex schwarz PG42 f.Kabel 32-38mm PA/ Aluminium | 1215500150
1215480114 | HSK-K-Mz-Ex schwarz PG48 f.Kabel 37-44mm PA/ Aluminium
1218400051 | METRICA-P grau M40x1,5 f.Kabel 15-23mm PA | 1219400050
1218630050 | METRICA-P grau M63x1,5 f.Kabel 36-48mm PA | 1209630050
1219160151 | HSK-K schwarz M16x1,5 f.Kabel 3-7mm PA
1219201030 | HSK-K grau M20x1,5 lang f.Kabel 10-14mm PA/O-Ring
1220162111 | Schlauchverschr. EH PG16 Kl.ber. 19-21mm Kunststoff grau
1220212812 | Schlauchverschr. EH PG21 Kl.ber. 26-28mm Kunststoff schwarz
1220293612 | Schlauchverschr. EH PG29 Kl.ber. 33-36mm Kunststoff schwarz
1224161552 | HSK-EH M16x1,5 komb. Schlauch-Kabel-Verschr. PA schwarz
1224202152 | HSK-EH M20x1,5 komb. Schlauch-Kabel-Verschr. PA schwarz
1292121770 | HSK-K-Ex-Active NPT1/2" f.Kabel 10-14mm PA/ O-Ring/blau | 1292121670
1292128270 | HSK-K-Ex-Active NPT1/2" f.Kabel 6-12mm PA/ O-Ring/Blindscheibe
1292161151 | HSK-K-Ex-Active M16x1.5 f.Kabel 3-7mm PA/ O-Ring | 1292160151
1292164150 | HSK-K-Ex-Active M16x1.5 f.Kabel 4-8mm PA/ mit Blindscheibe
1292201651 | HSK-K-Ex-Active M20x1.5 f.Kabel 7-12mm PA/ O-Ring | 1292200150
1292201751 | HSK-K-Ex-Active M20x1.5 f.Kabel 7-12mm PA/ O-Ring/blau | 1292200250
1292320230 | HSK-K-Ex-Active M32x1,5 lang f.Kabel 18-25mm PA/ O-Ring/blau | 1292320130 | 1292320250
1292540171 | HSK-K-Ex-Active NPT1 1/4" f.Kabel 13-20mm PA/ O-Ring
1292640171 | HSK-K-Ex-Active NPT1 1/2" f.Kabel 20-26mm PA/ O-Ring
1299210015 | HSK-K-PVDF PG21 f.Kabel 9-16mm PVDF natur
1299290014 | HSK-K-PVDF PG29 f.Kabel 18-25mm PVDF natur
1299290015 | HSK-K-PVDF PG29 f.Kabel 13-20mm PVDF natur
1299360015 | HSK-K-PVDF PG36 f.Kabel 20-26mm PVDF natur | 1299360014
1299420015 | HSK-K-PVDF PG42 f.Kabel 25-31mm PVDF natur
1299480014 | HSK-K-PVDF PG48 f.Kabel 37-44mm PVDF natur
1299480015 | HSK-K-PVDF PG48 f.Kabel 29-35mm PVDF natur
1313121670 | HSK-Winkel grau NPT1/2"/16 f.Kabel 10-14mm PA
1313320051 | HSK-Winkel grau M32x1,5 f.Kabel 13-20mm PA
1314121670 | HSK-K-Flex-Winkel NPT1/2"/16 grau, f.Kabel 10-14mm PA
1314130115 | HSK-K-Flex-Winkel PG13,5 schwarz, f.Kabel 5-9mm PA
1314160050 | HSK-K-Flex-Winkel M16x1,5 grau, f.Kabel 4-8mm PA
1314200050 | HSK-K-Flex-Winkel M20x1,5 grau, f.Kabel 6-12mm PA
1321070017 | O-Ring 10x1,5mm für AG G7 Perbunan | 1321120057
1321070021 | O-Ring 10x1,5mm für AG G7 FKM grün
1321070022 | O-Ring 10x1,5mm für AG G7 VMQ
1321090017 | O-Ring 12x1,5mm für AG G9 Perbunan | 1321160057
1321090021 | O-Ring 12x1,5mm für AG G9 FKM grün | 1321160058
1321090022 | O-Ring 12x1,5mm für AG G9 VMQ
1321130017 | O-Ring 17x1,8mm für AG G13,5 Perbunan | 1321200057
1321130021 | O-Ring 17x1,78mm f.AG G13,5 FKM (FKM) 80 Shore grün | 1321200058
1321130022 | O-Ring 17x1,78mm für AG G13,5 VMQ
1321360017 | O-Ring 43x2mm für AG G36 Perbunan | 1321500057
1321360021 | O-Ring 43x2,0mm für AG G36 FKM grün
1321360022 | O-Ring 43x2,0mm für AG G36 VMQ
1321480017 | O-Ring 55x2,0mm für AG G48 Perbunan | 1321630057
1321480021 | O-Ring 55x2,0mm für AG G48 FKM grün
1321480022 | O-Ring 55x2,0mm
1325360020 | AG-Dichtring DIN46320-9 PG36 HD
1325420020 | AG-Dichtring DIN46320-9 PG42 HD
1510160150 | Snapflex 16 10,7x16,0mm PA schwarz
1510200150 | Snapflex 20 14,1x20,0mm PA schwarz
1513100170 | SM-Winkel NPT1" schwarz PA
1513210114 | SM-Winkel PG21 schwarz PA
1513340170 | SM-Winkel NPT3/4" schwarz PA
1514160150 | SM-Nippel M16x1,5 passend zu Snapflex 16 PA/ schwarz
1554111614 | Snapclic-DUO-PA-W PG11 f.Kabel 5-10mm/ Snapflex16 PA
1572406050 | Metall-Fitting Pro M40 f. DN35 Messing
1575250150 | Snapfram M25x1,5 schwarz PA
1581100171 | HSK-K-Multi-Ex-Active NPT1" DE 4x9mm aus PA/schwarz/O-Ring
1581100272 | HSK-K-Multi-Ex-Active NPT1"DE 4x9,5mm aus PA/O-Ring/blau
1581120271 | HSK-K-Multi-Ex-Active NPT1/2"
1581120371 | HSK-K-Multi-Ex-Active NPT1/2"DE 2x5 mmaus PA/schwarz/O-Ring
1581120571 | HSK-K-Ex-Active NPT1/2" DE 2x5,2mm PA/Schwarz/ O-Ring
1581122271 | HSK-K-Multi-Ex-Active NPT1/2" DE 3x5,6mm aus PA/schwarz/O-Ring
1581129951 | HSK-K-Multi-Ex-Active M12x1,5 DE ohne Bohr. PA/schwarz/O-Ring
1581340071 | HSK-K-Ex-Active NPT3/4" DE 4x6mm PA/Schwarz/ O-Ring
1581340671 | HSK-K-Ex-Active NPT3/4" DE 3x5,2mm PA/Schwarz/ O-Ring
1582201751 | HSK-K-FLAKA-Ex-Active M20x1,5
1582201851 | HSK-K-FLAKA-Ex-Active M20x1,5DE BxH 14x6Polyamid/schwarz/O-Rin
1582250251 | HSK-K-Flaka-Ex-Active M25x1,5 DE 12x5,1mm PA/schwarz/O-Ring
1590130014 | HSK-KE grau PG13,5 f.Kabel 10-14mm PA | 1590130114
1590160014 | HSK-KE grau PG16 f.Kabel 13-18mm PA | 1590160114
1591130114 | HSK-KR schwarz PG13,5 f.Kabel 5-10mm PA
1591160114 | HSK-KR schwarz PG16 f.Kabel 6-12mm PA
1591210114 | HSK-KR schwarz PG21 f.Kabel 10-14mm PA
1591210115 | HSK-KR schwarz PG21 f.Kabel 7-12mm PA
1594160114 | HSK-KR-Flex schwarz PG16 f.Kabel 6-12mm PA
1597090300 | HSK-K/Multi grau PG9 2 Bohr. 1,7mm PA
1597090601 | HSK-K/Multi schwarz PG9 3 Bohr. 1.7mm PA
1597120170 | HSK-K/Multi grau NPT1/2" 6 Bohr. 3mm PA
1597200330 | HSK-K/Multi grau M20x1,5 2 Bohr. 5mm/lang PA
1597203451 | HSK-K/Multi schwarz M20x1,5/16 2x5mm+1x5,1mm+1x2,9mm PA/O-Ring
1597210200 | HSK-K/Multi grau PG21 2 Bohr. 8mm PA
1597210500 | HSK-K/Multi grau PG21 mit 4 Bohrungen 5,2 mm aus Polyamid
1597211201 | HSK-K/Multi schwarz PG21 6x3.8mm gesch.+1x3.8mitig ungesch. PA
1597349970 | HSK-K/Multi grau NPT3/4" Dichteinsatz ohne Bohr. PA
1597640571 | HSK-K/Multi schwarz NPT1 1/2" 6 Bohr. 7mm 1 Bohr. 4,5mm PA
1598160151 | HSK-KE/Multi schwarz M16/11 3 Bohr. 3mm PA
1598200851 | HSK-K/Multi schwarz M20x1,5/16 1 Bohr. 5mm/ gesch. PA/ O-Ring
1598200950 | HSK-K/Multi grau M20x1,5/16 Bohr 1x5,2mm und 1x6,8mm PA/O-Ring
1607630050 | METRICA-M-EMV-E M63x1,5 für Kabel 34-48mm Ms vern. | 1631630050 | 1691630050
1609070061 | HSK-M Pg 7 lang
1609090061 | HSK-M Pg 9 lang
1609110061 | HSK-M Pg 11 lang
1609130061 | HSK-M PG13,5 lang f.Kabel 5-9mm Ms vern./ O-Ring
1609160061 | HSK-M PG16 lang f.Kabel 7-12mm Ms vern./ O-Ring | 1609130060
1609161151 | HSK-M M16x1,5/ PG11 f.Kabel 3-7mm Ms vern./ O-Ring
1609201651 | HSK-M M20x1,5/16 f.Kabel 7-12mm Ms vern./ O-Ring
1609210061 | HSK-M PG21 lang f.Kabel 9-16mm Ms vern./ O-Ring
1609290061 | HSK-M PG29 lang f.Kabel 13-20mm Ms vern./ O-Ring
1609360015 | HSK-M PG36 f.Kabel 20-26mm Ms vern./ O-Ring | 1609400051
1609360061 | HSK-M PG36 lang f.Kabel 20-26mm Ms vern./ O-Ring
1609420061 | HSK-M PG42 lang f.Kabel 25-31mm Ms vern./ O-Ring
1609480015 | HSK-M PG48 f.Kabel 29-35mm Ms vern./ O-Ring
1609480061 | HSK-M PG48 lang f.Kabel 29-35mm Ms vern./ O-Ring
1610090060 | HSK-M-Ex PG9 lang f.Kabel 4-8mm Ms vern./ -20°C-+95°C
1610120030 | HSK-M-Ex M12x1,5 lang f.Kabel 3-6.5mm Ms vern./ -20°C-+95°C | 1610120050
1610250031 | HSK-M-Ex M25x1,5 lang f.Kabel 10-16mm Ms vern./ -20°C-+95°C | 1610250051
1610500030 | HSK-M-Ex M50x1,5 lang f.Kabel 32-38mm Ms vern./ -20°C-+95°C | 1610500050
1610500031 | HSK-M-Ex M50x1,5 lang f.Kabel 25-31mm Ms vern./ -20°C-+95°C | 1610500051
1611201650 | HSK-MZ-Ex M20x1,5/PG16 f.Kabel 10-14mm Ms vern./ -20°C-+95°C
1616290001 | HSK-M-EMV-Ex PG29 f.Kabel 18-25mm Ms vern./ -20°C-+95°C | 1616320050
1616340070 | HSK-M-EMV-Ex NPT3/4" f.Kabel 13-18mm Ms vern./ -20°C-+95°C
1617200030 | HSK-MZ-EMV-EX M20x1,5 lang f.Kabel 10-14mm Ms vern./-20°C+95°C
1617290001 | HSK-MZ-EMV-Ex PG29 f.Kabel 18-25mm Ms vern./ -20°C-+95°C
1617480001 | HSK-MZ-EMV-Ex PG48 f.Kabel 37-44mm Ms vern./ -20°C-+95°C
1618400050 | METRICA-M M40x1,5 f.Kabel 19-28mm Ms vern./ O-Ring
1618500050 | METRICA-M M50x1,5 f.Kabel 27-35mm Ms vern./ O-Ring
1622400051 | HSK-M-Ex-d M40x1,5 f.Kabel 20-26mm Ms vern./ -60°C-105°C | 1622400050
1623090015 | HSK-M-Flex PG9 f.Kabel 2-6mm Ms vern./ O-Ring
1623130015 | HSK-M-Flex PG13,5 f.Kabel 5-9mm Ms vern./ O-Ring
1623200031 | HSK-M-Flex M20x1,5 lang f.Kabel 5-9mm Ms vern./ O-Ring
1624070015 | HSK-M-Flex-EMV PG7 f.Kabel 2-5mm Ms vern./ O-Ring
1624090015 | HSK-M-Flex-EMV PG9 f.Kabel 2-6mm Ms vern./ O-Ring
1624110015 | HSK-M-Flex-EMV PG11 f.Kabel 3-7mm Ms vern./ O-Ring
1624120031 | HSK-M-Flex-EMV M12x1,5 lang f.Kabel 2-5mm Ms vern./ O-Ring
1624120051 | HSK-M-Flex-EMV M12x1,5 f.Kabel 2-5mm Ms vern./ O-Ring
1624130015 | HSK-M-Flex-EMV PG13,5 f.Kabel 5-9mm Ms vern./ O-Ring
1624160001 | HSK-M-Flex-EMV PG16 f.Kabel 10-14mm Ms vern./ O-Ring
1624160015 | HSK-M-Flex-EMV PG16 f.Kabel 7-12mm Ms vern./ O-Ring
1624160031 | HSK-M-Flex-EMV M16x1,5 lang f.Kabel 3-7mm Ms vern./ O-Ring
1624160051 | HSK-M-Flex-EMV M16x1,5 f.Kabel 3-7mm Ms vern./ O-Ring
1624200031 | HSK-M-Flex-EMV M20x1,5 lang f.Kabel 7-12mm Ms vern./ O-Ring
1624210001 | HSK-M-Flex-EMV PG21 f.Kabel 13-18mm Ms vern./ O-Ring
1624210015 | HSK-M-Flex-EMV PG21 f.Kabel 9-16mm Ms vern./ O-Ring
1624250031 | HSK-M-Flex-EMV M25x1,5 lang f.Kabel 9-16mm Ms vern./ O-Ring
1624250051 | HSK-M-Flex-EMV M25x1,5 f.Kabel 9-16mm Ms vern./ O-Ring
1628320050 | HSK-MZ-Ex-d M32x1,5 f.Kabel 18-25mm Ms vern./ -60°C-105°C
1628400050 | HSK-MZ-Ex-d M40x1,5 f.Kabel 22-32mm Ms vern./ -60°C-105°C
1631420001 | HSK-M-EMV-D PG42 f.Kabel 32-38mm Ms vern./ O-Ring
1631480001 | HSK-M-EMV-D PG48 f.Kabel 37-44mm Ms vern./ O-Ring
1634120070 | HSK-M-PVDF-Ex-d NPT1/2" f.Kabel 10-14mm Ms vern./ -20°C-130°C | 1634120071
1634160051 | HSK-M-PVDF-Ex-d M16x1,5 f.Kabel 3-7mm Ms vern./ -20°C-130°C
1634200050 | HSK-M-PVDF-Ex-d M20x1,5 f. Kabel 10-14mm Ms vern./-20°C - 130°C
1634250050 | HSK-M-PVDF-Ex-d M25x1,5 f.Kabel 13-18mm Ms vern./ -20°C-130°C
1634340071 | HSK-M-PVDF-Ex-d NPT3/4" f.Kabel 9-16mm Ms vern./ -20°C-130°C
1634380070 | HSK-M-PVDF-Ex-d NPT 3/8" für Kabel 5-10mm Ms vern./-20°C - 130°
1634380071 | HSK-M-PVDF-Ex-d NPT3/8" f.Kabel 3-7mm Ms vern./ -20°C-130°C
1636130001 | HSK-M-EMV-D-Ex PG13,5 f.Kabel 7-12mm Ms vern./ O-Ring | 1636160050
1636400030 | HSK-M-EMV-D-Ex M40x1,5 lang f.Kabel 24-32mm Ms vern./ O-Ring | 1636400050
1637320030 | HSK-M-EMV-D-Ex M32x1,5 lang f.Kabel18-25mm Ms vern./-60°C+95°C | 1637320050
1637320050 | HSK-M-EMV-D-Ex M32x1,5 f.Kabel 18-25mm Ms vern./ -60°C-+95°C | 1636320050
1640161151 | HSK-M-Ex M16x1,5/ PG11 f.Kabel 3-7mm Ms vern./ -60°C-+95°C
1640200031 | HSK-M-Ex lang M20x1,5 lang f.Kabel 5-9mm Ms vern./ -60°C-+95°C
1640250030 | HSK-M-Ex M25x1,5 lang f.Kabel 14-18mm Ms vern./ -60°C-+95°C | 1640250050
1640320051 | HSK-M-Ex M32x1,5 f.Kabel 13-20mm Ms vern./ -60°C-+95°C
1640340071 | HSK-M-Ex NPT3/4" f.Kabel 10-16mm Ms vern./ -60°C-+95°C
1640400050 | HSK-M-Ex M40x1,5 f.Kabel 22-32mm Ms vern./ -60°C-+95°C | 1616400050
1640400051 | HSK-M-Ex M40x1,5 f.Kabel 20-26mm Ms vern./ -60°C-+95°C | 1610400051
1640500050 | HSK-M-Ex M50x1,5 f.Kabel 32-38mm Ms vern./ -60°C-+95°C
1640500051 | HSK-M-Ex M50x1,5 f.Kabel 25-31mm Ms vern./ -60°C-+95°C | 1610500051
1640630050 | HSK-M-Ex M63x1,5 f.Kabel 37-44mm Ms vern./ -60°C-+95°C
1640630051 | HSK-M-Ex M63x1,5 f.Kabel 29-35mm Ms vern./ -60°C-+95°C
1641160050 | HSK-MZ-Ex M16x1,5 f.Kabel 4-8mm Ms vern./ -60°C-+95°C
1646090001 | HSK-M-EMV-Ex PG9 f.Kabel 4-8mm Ms vern./ -60°C-+95°C | 1646160051
1646120051 | HSK-M-EMV-Ex M12x1,5 f.Kabel 2-5mm Ms vern./ -60°C-+95°C | 1616120051
1646164050 | HSK-M-EMV-Ex M16x1,5 f.Kabel 5-10mm/ BL Ms vern./ -60°C+95°C
1646324050 | HSK-M-EMV-Ex M32x1,5 f.Kabel 17-24mm/ BL Ms vern./ -60°C+95°C
1646500051 | HSK-M-EMV-Ex M50x1,5 f.Kabel 25-31mm Ms vern./ -60°C-+95°C
1646630050 | HSK-M-EMV-Ex M63x1,5 f.Kabel 37-44mm Ms vern./ -60°C-+95°C | 1616630050
1647630050 | HSK-MZ-EMV-Ex M63x1,5 f.Kabel 37-44mm Ms vern./-60°C-+95°C
1647634050 | HSK-MZ-EMV-Ex M63x1,5 f.Kabel 37-44mm/-60°C-+95°C/ BL
1660160031 | HSK-M-PVDF-Ex M16x1,5 lang f.Kabel 2-6mm Ms vern./-20°C-+130°C
1660160050 | HSK-M-PVDF-Ex M16x1,5 f.Kabel 4-8mm Ms vern./ -20°C-+130°C
1660160051 | HSK-M-PVDF-Ex M16x1,5 f.Kabel 2-6mm Ms vern./ -20°C-+130°C
1660200051 | HSK-M-PVDF-Ex M20x1,5 f.Kabel 5-9mm Ms vern./ -20°C-+130°C
1660250050 | HSK-M-PVDF-Ex M25x1,5 f.Kabel 14-18mm Ms vern./ -20°C-+130°C
1660320050 | HSK-M-PVDF-Ex M32x1,5 f.Kabel 20-25mm Ms vern./ -20°C-+130°C
1661320050 | HSK-MZ-PVDF-Ex M32x1,5 f.Kabel 20-25mm Ms vern./ -20°C-+130°C
1669200050 | HSK-MZ-PVDF M20x1,5Kabel 6-12mm Ms vern./O-Ring
1669250050 | HSK-MZ-PVDF M25x1,5 f.Kabel 13-18mm Ms vern./ O-Ring
1675070015 | HSK-INOX Pg7Kabel 2-5mm aus 1.4404
1675110001 | HSK-INOX PG11 f.Kabel 5-10mm Inox 1.4404/ O-Ring
1675110015 | HSK-INOX PG11 f.Kabel 3-7mm Inox 1.4404/ O-Ring
1675120051 | HSK-INOX M12x1.5 f.Kabel 2-5mm Inox 1.4404/ O-Ring | 1695120051
1675130015 | HSK-INOX Pg 13.5
1675160001 | HSK-INOX PG16 f.Kabel 10-14mm Inox 1.4404/ O-Ring
1675160015 | HSK-INOX PG16 f.Kabel 7-12mm Inox 1.4404/ O-Ring
1675210001 | HSK-INOX PG21 f.Kabel 13-18mm Inox 1.4404/ O-Ring
1675210015 | HSK-INOX Pg21
1677070001 | HSK-INOX-EMV PG7 f.Kabel 3-6,5mm Inox 1.4404/ O-Ring
1677200050 | HSK-INOX-EMV M20x1,5 f.Kabel 10-14mm Inox 1.4404/ O-Ring
1680090601 | Kabelverschr. SE PG9 f.Kabel 4-10mm/ E 6mm Ms vern.
1687161450 | HSK-M/Multi-Ex M16x1,5/PG11 2 Bohr.2.5mm gesch. Ms vern/O-Ring
1687250050 | HSK-M/Multi-Ex M25x1,5 4 Bohr. 6mm Ms vern./ O-Ring
1687340070 | HSK-M-Multi-Ex NPT3/4" 4 Bohr. 6mm Ms vern./ O-Ring
1689400050 | HSK-M-Flaka-Ex M40x1,5 Einsatz 28,5x10mm Ms vern./-20°C+95°C
1689400150 | HSK-M-Flaka-Ex M40x1,5 Einsatz 29x5,5mm Ms vern./ -20°C-+95°C
1691070015 | HSK-M-EMV PG7 f.Kabel 2-5mm Ms vern./ O-Ring | 1691070001
1691070061 | HSK-M-EMV PG7 lang f.Kabel 2-5mm Ms vern./ O-Ring
1691090061 | HSK-M-EMV PG9 lang f.Kabel 2-6mm Ms vern./ O-Ring
1691110061 | HSK-M-EMV PG11 lang f.Kabel 3-7mm Ms vern./ O-Ring
1691130061 | HSK-M-EMV PG13,5 lang f.Kabel 5-9mm Ms vern./ O-Ring
1691160061 | HSK-M-EMV PG16 lang f.Kabel 7-12mm Ms vern./ O-Ring
1691164050 | HSK-M-EMV M16x1,5 f.Kabel 5-10mm Blindscheibe/ O-Ring
1691290061 | HSK-M-EMV PG29 lang f.Kabel 13-20mm Ms vern./ O-Ring
1691360060 | HSK-M-EMV PG36 lang f.Kabel 22-32mm Ms vern./ O-Ring
1691360061 | HSK-M-EMV PG36 lang f.Kabel 20-26mm Ms vern./ O-Ring
1691420060 | HSK-M-EMV PG42 lang f.Kabel 32-38mm Ms vern./ O-Ring
1691420061 | HSK-M-EMV PG42 lang f.Kabel 25-31mm Ms vern./ O-Ring | 1691420015
1691480060 | HSK-M-EMV PG48 lang f.Kabel 37-44mm Ms vern./ O-Ring | 1691480001
1691480061 | HSK-M-EMV PG48 lang f.Kabel 29-35mm Ms vern./ O-Ring
1692160030 | HSK-MZ-EMV M16x1,5 lang f.Kabel 5-9mm Ms vern./ O-Ring
1692201350 | HSK-MZ-EMV M20x1,5/13 f.Kabel 6-12mm Ms vern./ O-Ring
1692360001 | HSK-MZ-EMV PG36 f.Kabel 22-32mm Ms vern./ O-Ring
1692500051 | HSK-MZ-EMV M50x1,5 f.Kabel 28-31mm Ms vern./ O-Ring
1692630051 | HSK-MZ-EMV M63x1,5 f.Kabel 29-35mm Ms vern./ O-Ring | 1692630050
1695100070 | HSK-INOX NPT1" f.Kabel 18-25mm INOX 1.4305/ O-Ring | 1675100070
1695100071 | HSK-INOX NPT1" f.Kabel 13-20mm INOX 1.4305/ O-Ring
1695120071 | HSK-INOX NPT1/2" f.Kabel 5-9mm Inox 1.4305/ O-Ring | 1675120071
1695340070 | HSK-INOX NPT3/4" f.Kabel 13-18mm Inox 1.4305/ O-Ring
1695340071 | HSK-INOX NPT3/4" f.Kabel 9-16mm Inox 1.4305/ O-Ring | 1675340071
1695380070 | HSK-INOX NPT3/8" f.Kabel 4-8mm Inox 1.4305/ O-Ring
1695380071 | HSK-INOX NPT3/8" f.Kabel 2-6mm INOX 1.4305/ O-Ring
1696480015 | HSK-INOX-PVDF Pg48
1698120051 | HSK-M-PVDF-EMV M12x1,5 f.Kabel 2-5mm Ms vern./ O-Ring
1698250050 | HSK-M-PVDF-EMV M25x1,5 f.Kabel 13-18mm Ms vern./ O-Ring
1698250051 | HSK-M-PVDF-EMV M25x1,5 f.Kabel 9-16mm Ms vern./ O-Ring
1699210061 | HSK-M-PVDF PG21 lang f.Kabel 9-16mm Ms vern./ O-Ring
1699340070 | HSK-M-PVDF NPT3/4" f.Kabel 13-18mm Ms vern.
1699360061 | HSK-M-PVDF PG36 lang f.Kabel 20-26mm Ms vern./ O-Ring
1699380070 | HSK-M-PVDF NPT3/8" f.Kabel 4-8mm Ms vern./ O-Ring
1740200354 | HSK-INOX-HD-Pro M20x1.5 f.Kabel 11-13,5mm Hygienic Design/EHEDG
1752120050 | VariaPro FKM M12x1,5 Kabel 2-8mm | 1699120051
1752160050 | VariaPro FKM M16x1,5 Kabel 4-11mm | 1699161150
1752160051 | VariaPro FKM M16x1,5 Kabel 7-11mm
1752320050 | VariaPro FKM M32x1,5 Kabel 16-25mm
1752500050 | VariaPro FKM M50x1,5 Kabel 31-42mm
1752630050 | VariaPro FKM M63x1,5 Kabel 39-54mm
1752630051 | VariaPro FKM M63x1,5 Kabel 46,5-54mm
1895120050 | V-INOX-Ex-d M12x1,5 INOX 1.4404/ -20°C-95°C
1895500050 | V-INOX-Ex-d M50x1,5 INOX 1.4404/ -20°C-95°C | 1897500050
1895630050 | V-INOX-Ex-d M63x1,5 INOX 1.4404/ -20°C-95°C
1897100070 | V-INOX-Ex-d

## Blad1
Phase-Out 2026 | Description | Alternative 1 | Alternative 2
1292121770 | HSK-K-Ex NPT1/2 10-14 Active blue | 1292121670
1610500030 | GLAND HSK-M-Ex M50x1,5 Ms | 1610500050
1321130017 | O-RING NBR PG 13,5 | 1321200057
1209210060 | GLAND HSK-K Pg21 PA grey | 1209210160
1209290060 | GLAND HSK-K Pg29 PA grey | 1209290160
1209360060 | GLAND HSK-K Pg36 PA grey | 1209360160
1209630031 | GLAND HSK-K M63x1,5 PA grey | 1209630131
1299360015 | GLAND HSK-K-PVDF Pg36 | 1299360014
1299480015 | GLAND HSK-K-PVDF Pg48 | n.a.
1321070017 | O-RING NBR PG 7 | 1321120057
1321090017 | O-RING NBR PG 9 | 1321160057
1590130014 | GLAND HSK-KE Pg13,5 PA grey | 1590130114
1590160014 | GLAND HSK-KE Pg16 PA grey | 1590160114
1692630051 | GLAND HSK-MZ-EMV M63x1,5 Ms | 1692630050
1209120250 | GLAND HSK-K M12x1,5 PA blue | 1209120050 | 1209120150
1209090061 | GLAND HSK-K Pg9 PA grey | 1209090015
1209130061 | GLAND HSK-K Pg13,5 PA grey | 1209130161
1209160230 | GLAND HSK-K M16x1,5 PA blue | 1209160030 | 1209160130
1209200230 | GLAND HSK-K M20x1,5 PA blue | 1209200250 | 1209200030
1209480160 | GLAND HSK-K Pg48 PA black | 1209480115
1215210114 | HSK-K-MZ-EX PG 21 | 1215250150
1215360114 | HSK-K-MZ-EX PG 36 | 1215400150
1215420114 | HSK-K-MZ-EX PG 42 | 1215500150
1218400051 | GLAND HSK-K / METRICA-P M40x1,5 PA GR | 1219400050
1292161151 | GLAND HSK-K-EX NPT1-1/2" PA blue | 1292160151
1292201751 | HSK-K-EX M20x1,5 7-12 Active blue | 1292200250
1321360017 | O-RING NBR PG 36/M50 | 1321500057
1591210114 | GLAND HSK-KR Pg21 PA black | n.a.
1607630050 | METRICA-M-EMC-E M63x1,5 34-48mm | 1631630050 | 1691630050
1609360015 | GLAND HSK-M Pg36 Ms | 1609400051
1610250031 | GLAND HSK-M-Ex M25x1,5 Ms | 1610250051
1610500031 | GLAND HSK-M-Ex M50x1,5 Ms | 1610500051
1636130001 | GLAND HSK-M-EMV-D-Ex Pg 13,5 Ms | 1636160050
1636400030 | GLAND HSK-M-EMV-D-Ex M40x1,5 Ms | 1636400050
1637320030 | GLAND HSK-M-EMV-D-Ex M32x1,5 Ms | 1637320050
1637320050 | GLAND HSK-M-EMV-D-Ex M32x1,5 Ms | 1636320050
1640250030 | GLAND HSK-M-Ex M25x1,5 Ms | 1640250050
1640400051 | GLAND HSK-M-Ex M40x1,5 Ms | 1610400051
1640500051 | GLAND HSK-M-Ex M50x1,5 Ms | 1610500051
1646090001 | GLAND HSK-M-EMV-Ex Pg9 Ms | 1646160051
1687250050 | GLAND HSK-M-Multi-Ex M25x1,5 Ms | n.a.
1691480060 | GLAND HSK-M-EMV Pg48 Ms | 1691480001
1695100070 | GLAND HSK-INOX Pg9 | 1675100070
1695120071 | GLAND HSK-INOX M12x1,5 | 1675120071
1895500050 | PLUG V-INOX-Ex-d M50x1,5 | 1897500050
1218630050 | GLAND HSK-K / METRICA-P M63x1,5 PA GR | 1209630050
1292201651 | GLAND HSK-K-EX NPT1-1/2" PA blue | 1292200150
1575250150 | GLAND SNAPFRAM M25 PA ZW | n.a.
1609160061 | GLAND HSK-M Pg16 Ms | 1609130060
1609201651 | WARTEL HSK-M M20X1,5 VVE= 50 STOP | n.a.
1646120051 | GLAND HSK-M-EMV-Ex M12x1,5 Ms | 1616120051
1209540071 | GLAND HSK-K NPT1-1/4" PA grey | 1209540171
1215110114 | HSK-K-MZ-EX PG 11 | 1215160150 | 1692110001
1215160114 | HSK-K-MZ-EX PG 16 | 1215200150 | 1692160001
1215290114 | HSK-K-MZ-EX PG 29 | 1215320150 | 1692290001
1321130021 | O-RING FPM PG 13,5 | 1321200058
1610120030 | GLAND HSK-M-Ex M12x1,5 Ms | 1610120050
1616290001 | GLAND HSK-M-EMV-Ex Pg29 Ms | 1616320050
1640400050 | GLAND HSK-M-Ex M40x1,5 Ms | 1616400050
1646630050 | GLAND HSK-M-EMV-Ex M63x1,5 Ms | 1616630050
1687340070 | GLAND HSK-M-Multi-Ex NPT3/4" Ms | n.a.
1691070015 | GLAND HSK-M-EMV Pg7 Ms | 1691070001
1691420061 | GLAND HSK-M-EMV Pg42 Ms | 1691420015
1752120050 | VariaPro FKM M12x1,5 Cable 2-8mm | 1699120051
1752160050 | VariaPro FKM M16x1,5 Cable 4-11mm | 1699161150
1321480017 | O-RING NBR PG 48/M63 | 1321630057
1591210115 | GLAND HSK-KR Pg21 PA black | n.a.
1510200150 | KABELHOSE SNAPFL. D20 PA ZW | n.a.
1634120070 | GLAND HSK-M-PVDF-Ex-d NPT 1/2" Ms | 1634120071
1292320230 | HSK-K-Ex M32x1,5 18-25 Active long blue | 1292320130 | 1292320250
1675120051 | GLAND HSK-INOX M12x1,5 | 1695120051
1622400051 | GLAND HSK-M-Ex-d M40x1,5 Ms | 1622400050
1321090021 | O-RING FPM PG 9 | 1321160058
1695340071 | GLAND HSK-INOX M32x1,5 | 1675340071
1192160001 | PLUG V-INOX-EX Pg16 Inox | 1197160001