Media Relations Contact Richard Andrews Marketing Services Manager Tel: 01709 704000 e-mail: information@rittal.co.uk Rittal Limited Braithwell Way Hellaby Industrial Estate Hellaby Rotherham S66 8QY www.rittal.co.uk

Date of issue: February 5, 2018

Hygienic Design Enclosures and Accessories

By Christian Westwood, Rittal’s Industry Manager for Infrastructure

The 2017 Industrial Strategy document from the UK Government “Building Britain fit for the future”1 states,

“The world will need 60 per cent more food by 2050 to allow us to feed 9 billion people, while demand for water is expected to rise by 20 per cent in the agriculture sector alone. For this to be possible, the way we produce our food needs to be significantly more efficient and sustainable.”

Manufacturers in the Food and Beverage sector are faced with the challenge of improving production efficiency not only to reduce their costs but also to ensure a growing global population survives and prospers.

So, why do I think that electrical enclosures and cooling equipment, a seemingly small part of any production process, can make a significant contribution to maximising efficiency?  Because they have a major role to play in limiting planned and unplanned production downtime.

Downtime, when production is halted, represents the “worst case scenario” for plant operators. These dead periods reduce output, add to costs, and impact sales. However, in hygiene-critical production situations, longer downtimes are unavoidable because of the amount of cleaning required. In meat-processing plants, for example, machines must be at a standstill up to 40 per cent of the time, to allow for essential cleaning work.

Hygienic Design

Typically, industrial wall-mounted enclosures and standard enclosures for machines and plant don’t support a need for fast but effective cleaning. Their basic design, as well as their various “nooks and crannies”, make cleaning more difficult, meaning they can be dirt traps and thus a breeding ground for germs.

Hygienic design stands for one principle above all: provisions for the simple and thorough cleaning of everything that could come into contact with foods – from the machine to its enclosure.  It is particularly important to remove the aforementioned “dead spaces” or undercuts of any kind, as well as joints without radius, because such points are particularly prone to product residue accumulations, which in turn represent an ideal substrate for microbial contamination. For the same reason, surfaces with recesses such as the uncovered threads of screw connections, or screw heads with internal hexagons (Allen screws) or Torx screws are not allowed.  Corners and joints must be smooth, gap-less and cleanly rounded.

To ensure that sprayed water is able to run off the surfaces of housings and enclosures in spray and wet zones, appropriately angled drain slopes must be provided.

The specially designed Rittal Hygienic Design (HD) enclosures meet these tough hygienic requirements in full.  In addition to terminal boxes and compact enclosures in common sizes, which are available ex-stock, Rittal also has a comprehensive product portfolio that ranges from enclosures to operating housings for safely accommodating electrical equipment.

The entire range has been meticulously designed to meet the requirements, regulations and guidelines of the food and beverage industry. All the external parts are made entirely of stainless steel, which means a high resistance to chemicals, cleaning agents and disinfectants.

The enclosures meet the IP 66 protection category in accordance with IEC 60 529, as well as the NEMA 4X protection class, which means they can be cleaned with a high-pressure cleaner without any impact on their internal contents.

The door seals are made of silicone instead of polyurethane (PU foam), which is more resistant to all kinds of detergents, and dyed blue, which makes it identifiable as a “foreign object” in the event of any mechanical damage. The easily replaceable (but securely inserted) one-piece gaskets, which are safely fitted on the insides of the doors and panels to the outside, guarantee an unbroken seal.

Where Cooling is Required

But the enclosure is only part of the solution. It can prevent damage to electrical equipment from dust and water ingress, but can do little to combat high temperatures. Whether the enclosure is located in a hot environment, contains equipment that produces heat, or both, a cooling solution appropriate for the application decreases the risk of components tripping or even failing, once again reducing costly interruptions to production.

The most hygienic cooling method for enclosure climate control is an air/water heat exchanger. If cooling water system is not available, then the water for individual heat exchangers can be provided via chillers which can be installed remote from the open process.

For smaller systems, the one-off procurement costs for heat exchangers, chillers and piping are generally slightly higher than the costs of classic wall-mounted cooling units.   But a heat exchanger is the system of choice for hygienic environments and could quickly pay back the investment through reduced maintenance requirements and lower energy costs.

In addition to air/water heat exchangers for use with stainless steel enclosures, Rittal offers special HD versions in the 650- and 1250-watt output classes. Their design simplifies cleaning procedures and contributes to food safety.

Conclusion

It may surprise some to learn just how much of an impact a poor choice of enclosure can have on production and output.

But in manufacturing, it’s sometimes the small details that make all the difference.

www.rittal.co.uk

Ends

(Notes: 1 Building a Britain Fit for the Future:  www.gov.uk/government/uploads/system/uploads/attachment_data/file/664563/industrial-strategy-white-paper-web-ready-version.pdf)

Press Information:
Richard Andrews
Marketing Services Manager
Email: information@rittal.co.uk

Image

Picture shows: Production line with food prep areas
Reproduction free of charge
Please specify “Rittal Limited” as source
Please send us a reference copy

Notes to Editors

Rittal, headquartered in Herborn, Hessen, Germany, is a leading global provider of solutions for industrial enclosures, power distribution, climate control and IT infrastructure, as well as software and services. Systems made by Rittal are deployed across a variety of industrial and IT applications, including vertical sectors such as the transport industry, power generation, mechanical and plant engineering, IT and telecommunications. Rittal is active worldwide with 10,000 employees and 58 subsidiaries.

Its broad product range includes infrastructure solutions for modular and energy-efficient data centres with innovative concepts for the security of physical data and systems. Leading software providers Eplan and Cideon complement the value chain, providing interdisciplinary engineering solutions, while Rittal Automation Systems offers automation systems for switchgear construction.

Founded in Herborn in 1961 and still run by its owner, Rittal is the largest company in the Friedhelm Loh Group. The Friedhelm Loh Group operates worldwide with 18 production sites and 78 international subsidiaries. The entire group employs more than 11,500 people and generated revenues of around €2.2 billion in 2014. For the seventh time in succession, the family business has won the accolade “Top German Employer” in 2015.

Further information can be found at www.rittal.com and www.friedhelm-loh-group.com.